120″ Telescope Cassegrain Focus

| Optic # | Optic Notes | Procedures |
| --- | --- | --- |
| #1 | Bare aluminum Subjected to oil drips and occasional moisture Up facing mirror – Protective cover | Inspect monthly Co2 monthly Wash annually |
| #2 | Bare aluminum Down facing mirror | Inspect monthly Wash as needed |