Optics stripping and cleaning chemicals

HCL – 1:1 mix

KOH – ½ lb: 3 gal distilled water (Potassium Hydroxide)

Green River – HCL 1gal – H2O 1 gal – ½ lb Copper Sulfate