@ 120 Inch Telescope:

1. Reflectometer Optics

A. Witness mirror

B. Lamp collimator lens

C. Red and blue filter

2. Telescope main optics

A. Telescope

a. Primary

b. Coude secondary

c. Cass secondary

d. Tertiary mirror flat

e. Diagonal mirror (KAST) (Small hole)

f. Diagonal (Gemini) (Medium hole)

g. Diagonal (Large hole)

h. Diagonal periscope mirror

i. Diagonal periscope lens assembly

B. Guider

C. Source lamps

3. Slit room

A. Slit jaws

B. Aperture plate

C. Image rotator prism assembly

D. Periscope mirror

E. Integrator

a. Mirror

b. Integrator tube window

F. Guide camera

a. Camera window (quartz)

b. Camera lens

c. Camera filter wheel

G. Sliding pit diagonal mirror

4. Camera room

A. 120″ camera

B. 80″ camera

C. 40″ camera

D. 20″ camera

E. Hamilton spectrograph

F. Grating turret

G. Camera correctors

H. Collimators

a. Hamilton

b.

c.

I. Filter wheel (Back side of slit plate in camera room)