| Maintenance Performed | Hz | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dome Shutter |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease upper and lower tracks | 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease opener lead screw (white grease) | 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| Dome Drive |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check gearbox fluid level | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean drive wheel and wheel track | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Dome |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease track | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube dome wheels – zerks | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube hurricane wheel zerks | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube windscreen drive – up & down units | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspect slip-rings – service as needed | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Check dome fans | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Telescope |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dust off telescope frame and mount | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Check slew and tracking belts | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Check secondary focus belt | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Co2 clean primary | 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| Air Compressor |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check belt condition & tension | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Drain condensation from compressor tank | 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| Change compressor oil | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Drain the two water separators on dome floor | 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| Air Conditioner |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean/change 40″ control room ac filter | 2 |  |  |  |  |  |  |  |  |  |  |  |  |

Notes: