| Maintenance Performed | Hz | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Telescope |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Co2 clean primary | 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| Dry lube mirror cover rails | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| #1 Mirror Housing |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wash #1 flat | 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| Dust off #1 mirror mount & cover | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube housing chain drive | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube housing drive & wheel zerks | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Check housing drive gearbox fluid level | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease housing tracks | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease barn door shutter track & wheel zerks | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Check barn door shutter gearbox fluid levels | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube barn door shutter chain | 1 |  |  |  |  |  |  |  |  |  |  |  |  |

Notes: