| Maintenance Performed | Hz | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dome Drive |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease track | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease wheel bearing zerks | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease hurricane wheel zerks | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspect slip-rings – service as needed | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Telescope |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dust off telescope and mount | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Service mirror cover drive | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease RA bearing axel | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Service DEC. clamp | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Service RA drive | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Co2 clean primary | 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| Dome Shutter |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease rack & pinion gears | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease shutter track | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube shutter wheel zerks | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube rain shield – oil holes | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube shutter drive train & motor | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Windscreen |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube track guides | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Lube bearing zerks | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Service motor | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Air Compressor |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drain condensation from compressor tank | 12 |  |  |  |  |  |  |  |  |  |  |  |  |

Notes: