| Maintenance Performed | Hz | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dome |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease hurricane wheel zerks | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Check dome drive gearbox fluid level | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| Check drive wheel for wear | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Check dome wheels for bearing wear | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Shutter |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease shutter track (top & bottom) | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Grease shutter wheel zerks (top & bottom) | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Telescope |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wash primary mirror | 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| Air Conditioner |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean or replace filter | 2 |  |  |  |  |  |  |  |  |  |  |  |  |

Notes: